## 20241205 FP Plate 1_
Software Version | 3.08.01
Experiment File Path: | C:\Users\Public\Documents\Experiments\bvogler\fluorescence_polarization\20241205 FP.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2024-12-04
Time | 15:38
Reader Type: | Synergy Neo2
Reader Serial Number: | 190718C
Reading Type | Reader
Procedure Details
Plate Type | 384 Standard (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Dual PMT)
| Excitation: 360/40 | Emission: 460/40
| Optics: Top | Gain: 50
Filter Set 2 (Dual PMT)
| Excitation: 360/40 | Emission: 460/40
| Optics: Top | Gain: 50
Fluorescence Polarization
| Light Source: Xenon Flash | Lamp Energy: Low | Standard Dynamic Range
| Read Speed: Normal | Delay: 0 msec | Measurements/Data Point: 10
Filter Switching
Read Height: 9 mm
Layout
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | SPL1 | SPL17 | SPL33 | SPL49 | SPL65 | SPL81 | SPL97 | SPL113 | SPL129 | SPL145 | SPL161 | SPL177 | SPL193 | SPL209 | SPL225 | SPL241 | SPL257 | SPL273 | SPL289 | SPL305 | SPL321 | SPL337 | SPL353 | SPL369 | Well ID
B | SPL2 | SPL18 | SPL34 | SPL50 | SPL66 | SPL82 | SPL98 | SPL114 | SPL130 | SPL146 | SPL162 | SPL178 | SPL194 | SPL210 | SPL226 | SPL242 | SPL258 | SPL274 | SPL290 | SPL306 | SPL322 | SPL338 | SPL354 | SPL370 | Well ID
C | SPL3 | SPL19 | SPL35 | SPL51 | SPL67 | SPL83 | SPL99 | SPL115 | SPL131 | SPL147 | SPL163 | SPL179 | SPL195 | SPL211 | SPL227 | SPL243 | SPL259 | SPL275 | SPL291 | SPL307 | SPL323 | SPL339 | SPL355 | SPL371 | Well ID
D | SPL4 | SPL20 | SPL36 | SPL52 | SPL68 | SPL84 | SPL100 | SPL116 | SPL132 | SPL148 | SPL164 | SPL180 | SPL196 | SPL212 | SPL228 | SPL244 | SPL260 | SPL276 | SPL292 | SPL308 | SPL324 | SPL340 | SPL356 | SPL372 | Well ID
E | SPL5 | SPL21 | SPL37 | SPL53 | SPL69 | SPL85 | SPL101 | SPL117 | SPL133 | SPL149 | SPL165 | SPL181 | SPL197 | SPL213 | SPL229 | SPL245 | SPL261 | SPL277 | SPL293 | SPL309 | SPL325 | SPL341 | SPL357 | SPL373 | Well ID
F | SPL6 | SPL22 | SPL38 | SPL54 | SPL70 | SPL86 | SPL102 | SPL118 | SPL134 | SPL150 | SPL166 | SPL182 | SPL198 | SPL214 | SPL230 | SPL246 | SPL262 | SPL278 | SPL294 | SPL310 | SPL326 | SPL342 | SPL358 | SPL374 | Well ID
G | SPL7 | SPL23 | SPL39 | SPL55 | SPL71 | SPL87 | SPL103 | SPL119 | SPL135 | SPL151 | SPL167 | SPL183 | SPL199 | SPL215 | SPL231 | SPL247 | SPL263 | SPL279 | SPL295 | SPL311 | SPL327 | SPL343 | SPL359 | SPL375 | Well ID
H | SPL8 | SPL24 | SPL40 | SPL56 | SPL72 | SPL88 | SPL104 | SPL120 | SPL136 | SPL152 | SPL168 | SPL184 | SPL200 | SPL216 | SPL232 | SPL248 | SPL264 | SPL280 | SPL296 | SPL312 | SPL328 | SPL344 | SPL360 | SPL376 | Well ID
I | SPL9 | SPL25 | SPL41 | SPL57 | SPL73 | SPL89 | SPL105 | SPL121 | SPL137 | SPL153 | SPL169 | SPL185 | SPL201 | SPL217 | SPL233 | SPL249 | SPL265 | SPL281 | SPL297 | SPL313 | SPL329 | SPL345 | SPL361 | SPL377 | Well ID
J | SPL10 | SPL26 | SPL42 | SPL58 | SPL74 | SPL90 | SPL106 | SPL122 | SPL138 | SPL154 | SPL170 | SPL186 | SPL202 | SPL218 | SPL234 | SPL250 | SPL266 | SPL282 | SPL298 | SPL314 | SPL330 | SPL346 | SPL362 | SPL378 | Well ID
K | SPL11 | SPL27 | SPL43 | SPL59 | SPL75 | SPL91 | SPL107 | SPL123 | SPL139 | SPL155 | SPL171 | SPL187 | SPL203 | SPL219 | SPL235 | SPL251 | SPL267 | SPL283 | SPL299 | SPL315 | SPL331 | SPL347 | SPL363 | SPL379 | Well ID
L | SPL12 | SPL28 | SPL44 | SPL60 | SPL76 | SPL92 | SPL108 | SPL124 | SPL140 | SPL156 | SPL172 | SPL188 | SPL204 | SPL220 | SPL236 | SPL252 | SPL268 | SPL284 | SPL300 | SPL316 | SPL332 | SPL348 | SPL364 | SPL380 | Well ID
M | SPL13 | SPL29 | SPL45 | SPL61 | SPL77 | SPL93 | SPL109 | SPL125 | SPL141 | SPL157 | SPL173 | SPL189 | SPL205 | SPL221 | SPL237 | SPL253 | SPL269 | SPL285 | SPL301 | SPL317 | SPL333 | SPL349 | SPL365 | SPL381 | Well ID
N | SPL14 | SPL30 | SPL46 | SPL62 | SPL78 | SPL94 | SPL110 | SPL126 | SPL142 | SPL158 | SPL174 | SPL190 | SPL206 | SPL222 | SPL238 | SPL254 | SPL270 | SPL286 | SPL302 | SPL318 | SPL334 | SPL350 | SPL366 | SPL382 | Well ID
O | SPL15 | SPL31 | SPL47 | SPL63 | SPL79 | SPL95 | SPL111 | SPL127 | SPL143 | SPL159 | SPL175 | SPL191 | SPL207 | SPL223 | SPL239 | SPL255 | SPL271 | SPL287 | SPL303 | SPL319 | SPL335 | SPL351 | SPL367 | SPL383 | Well ID
P | SPL16 | SPL32 | SPL48 | SPL64 | SPL80 | SPL96 | SPL112 | SPL128 | SPL144 | SPL160 | SPL176 | SPL192 | SPL208 | SPL224 | SPL240 | SPL256 | SPL272 | SPL288 | SPL304 | SPL320 | SPL336 | SPL352 | SPL368 | SPL384 | Well ID
Actual Temperature: | 22.7
Actual Temperature: | 22.7
Results
Well ID | SPL1 | SPL2 | SPL3 | SPL4 | SPL5 | SPL6 | SPL7 | SPL8 | SPL9 | SPL10 | SPL11 | SPL12 | SPL13 | SPL14 | SPL15 | SPL16 | SPL17 | SPL18 | SPL19 | SPL20 | SPL21 | SPL22 | SPL23 | SPL24 | SPL25 | SPL26 | SPL27 | SPL28 | SPL29 | SPL30 | SPL31 | SPL32 | SPL33 | SPL34 | SPL35 | SPL36 | SPL37 | SPL38 | SPL39 | SPL40 | SPL41 | SPL42 | SPL43 | SPL44 | SPL45 | SPL46 | SPL47 | SPL48 | SPL49 | SPL50 | SPL51 | SPL52 | SPL53 | SPL54 | SPL55 | SPL56 | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 | SPL62 | SPL63 | SPL64 | SPL65 | SPL66 | SPL67 | SPL68 | SPL69 | SPL70 | SPL71 | SPL72 | SPL73 | SPL74 | SPL75 | SPL76 | SPL77 | SPL78 | SPL79 | SPL80 | SPL81 | SPL82 | SPL83 | SPL84 | SPL85 | SPL86 | SPL87 | SPL88 | SPL89 | SPL90 | SPL91 | SPL92 | SPL93 | SPL94 | SPL95 | SPL96 | SPL97 | SPL98 | SPL99 | SPL100 | SPL101 | SPL102 | SPL103 | SPL104 | SPL105 | SPL106 | SPL107 | SPL108 | SPL109 | SPL110 | SPL111 | SPL112 | SPL113 | SPL114 | SPL115 | SPL116 | SPL117 | SPL118 | SPL119 | SPL120 | SPL121 | SPL122 | SPL123 | SPL124 | SPL125 | SPL126 | SPL127 | SPL128 | SPL129 | SPL130 | SPL131 | SPL132 | SPL133 | SPL134 | SPL135 | SPL136 | SPL137 | SPL138 | SPL139 | SPL140 | SPL141 | SPL142 | SPL143 | SPL144 | SPL145 | SPL146 | SPL147 | SPL148 | SPL149 | SPL150 | SPL151 | SPL152 | SPL153 | SPL154 | SPL155 | SPL156 | SPL157 | SPL158 | SPL159 | SPL160 | SPL161 | SPL162 | SPL163 | SPL164 | SPL165 | SPL166 | SPL167 | SPL168 | SPL169 | SPL170 | SPL171 | SPL172 | SPL173 | SPL174 | SPL175 | SPL176 | SPL177 | SPL178 | SPL179 | SPL180 | SPL181 | SPL182 | SPL183 | SPL184 | SPL185 | SPL186 | SPL187 | SPL188 | SPL189 | SPL190 | SPL191 | SPL192 | SPL193 | SPL194 | SPL195 | SPL196 | SPL197 | SPL198 | SPL199 | SPL200 | SPL201 | SPL202 | SPL203 | SPL204 | SPL205 | SPL206 | SPL207 | SPL208 | SPL209 | SPL210 | SPL211 | SPL212 | SPL213 | SPL214 | SPL215 | SPL216 | SPL217 | SPL218 | SPL219 | SPL220 | SPL221 | SPL222 | SPL223 | SPL224 | SPL225 | SPL226 | SPL227 | SPL228 | SPL229 | SPL230 | SPL231 | SPL232 | SPL233 | SPL234 | SPL235 | SPL236 | SPL237 | SPL238 | SPL239 | SPL240 | SPL241 | SPL242 | SPL243 | SPL244 | SPL245 | SPL246 | SPL247 | SPL248 | SPL249 | SPL250 | SPL251 | SPL252 | SPL253 | SPL254 | SPL255 | SPL256 | SPL257 | SPL258 | SPL259 | SPL260 | SPL261 | SPL262 | SPL263 | SPL264 | SPL265 | SPL266 | SPL267 | SPL268 | SPL269 | SPL270 | SPL271 | SPL272 | SPL273 | SPL274 | SPL275 | SPL276 | SPL277 | SPL278 | SPL279 | SPL280 | SPL281 | SPL282 | SPL283 | SPL284 | SPL285 | SPL286 | SPL287 | SPL288 | SPL289 | SPL290 | SPL291 | SPL292 | SPL293 | SPL294 | SPL295 | SPL296 | SPL297 | SPL298 | SPL299 | SPL300 | SPL301 | SPL302 | SPL303 | SPL304 | SPL305 | SPL306 | SPL307 | SPL308 | SPL309 | SPL310 | SPL311 | SPL312 | SPL313 | SPL314 | SPL315 | SPL316 | SPL317 | SPL318 | SPL319 | SPL320 | SPL321 | SPL322 | SPL323 | SPL324 | SPL325 | SPL326 | SPL327 | SPL328 | SPL329 | SPL330 | SPL331 | SPL332 | SPL333 | SPL334 | SPL335 | SPL336 | SPL337 | SPL338 | SPL339 | SPL340 | SPL341 | SPL342 | SPL343 | SPL344 | SPL345 | SPL346 | SPL347 | SPL348 | SPL349 | SPL350 | SPL351 | SPL352 | SPL353 | SPL354 | SPL355 | SPL356 | SPL357 | SPL358 | SPL359 | SPL360 | SPL361 | SPL362 | SPL363 | SPL364 | SPL365 | SPL366 | SPL367 | SPL368 | SPL369 | SPL370 | SPL371 | SPL372 | SPL373 | SPL374 | SPL375 | SPL376 | SPL377 | SPL378 | SPL379 | SPL380 | SPL381 | SPL382 | SPL383 | SPL384
Well | A1 | B1 | C1 | D1 | E1 | F1 | G1 | H1 | I1 | J1 | K1 | L1 | M1 | N1 | O1 | P1 | A2 | B2 | C2 | D2 | E2 | F2 | G2 | H2 | I2 | J2 | K2 | L2 | M2 | N2 | O2 | P2 | A3 | B3 | C3 | D3 | E3 | F3 | G3 | H3 | I3 | J3 | K3 | L3 | M3 | N3 | O3 | P3 | A4 | B4 | C4 | D4 | E4 | F4 | G4 | H4 | I4 | J4 | K4 | L4 | M4 | N4 | O4 | P4 | A5 | B5 | C5 | D5 | E5 | F5 | G5 | H5 | I5 | J5 | K5 | L5 | M5 | N5 | O5 | P5 | A6 | B6 | C6 | D6 | E6 | F6 | G6 | H6 | I6 | J6 | K6 | L6 | M6 | N6 | O6 | P6 | A7 | B7 | C7 | D7 | E7 | F7 | G7 | H7 | I7 | J7 | K7 | L7 | M7 | N7 | O7 | P7 | A8 | B8 | C8 | D8 | E8 | F8 | G8 | H8 | I8 | J8 | K8 | L8 | M8 | N8 | O8 | P8 | A9 | B9 | C9 | D9 | E9 | F9 | G9 | H9 | I9 | J9 | K9 | L9 | M9 | N9 | O9 | P9 | A10 | B10 | C10 | D10 | E10 | F10 | G10 | H10 | I10 | J10 | K10 | L10 | M10 | N10 | O10 | P10 | A11 | B11 | C11 | D11 | E11 | F11 | G11 | H11 | I11 | J11 | K11 | L11 | M11 | N11 | O11 | P11 | A12 | B12 | C12 | D12 | E12 | F12 | G12 | H12 | I12 | J12 | K12 | L12 | M12 | N12 | O12 | P12 | A13 | B13 | C13 | D13 | E13 | F13 | G13 | H13 | I13 | J13 | K13 | L13 | M13 | N13 | O13 | P13 | A14 | B14 | C14 | D14 | E14 | F14 | G14 | H14 | I14 | J14 | K14 | L14 | M14 | N14 | O14 | P14 | A15 | B15 | C15 | D15 | E15 | F15 | G15 | H15 | I15 | J15 | K15 | L15 | M15 | N15 | O15 | P15 | A16 | B16 | C16 | D16 | E16 | F16 | G16 | H16 | I16 | J16 | K16 | L16 | M16 | N16 | O16 | P16 | A17 | B17 | C17 | D17 | E17 | F17 | G17 | H17 | I17 | J17 | K17 | L17 | M17 | N17 | O17 | P17 | A18 | B18 | C18 | D18 | E18 | F18 | G18 | H18 | I18 | J18 | K18 | L18 | M18 | N18 | O18 | P18 | A19 | B19 | C19 | D19 | E19 | F19 | G19 | H19 | I19 | J19 | K19 | L19 | M19 | N19 | O19 | P19 | A20 | B20 | C20 | D20 | E20 | F20 | G20 | H20 | I20 | J20 | K20 | L20 | M20 | N20 | O20 | P20 | A21 | B21 | C21 | D21 | E21 | F21 | G21 | H21 | I21 | J21 | K21 | L21 | M21 | N21 | O21 | P21 | A22 | B22 | C22 | D22 | E22 | F22 | G22 | H22 | I22 | J22 | K22 | L22 | M22 | N22 | O22 | P22 | A23 | B23 | C23 | D23 | E23 | F23 | G23 | H23 | I23 | J23 | K23 | L23 | M23 | N23 | O23 | P23 | A24 | B24 | C24 | D24 | E24 | F24 | G24 | H24 | I24 | J24 | K24 | L24 | M24 | N24 | O24 | P24
360/40 | 460/40 [Parallel] | 129 | 124 | 121 | 124 | 135 | 128 | 141 | 139 | 144 | 145 | 132 | 134 | 15 | 14 | 15 | 14 | 13 | 15 | 15 | 13 | 14 | 14 | 14 | 15 | 14 | 14 | 14 | 14 | 15 | 14 | 14 | 14 | 75 | 69 | 72 | 72 | 84 | 91 | 86 | 73 | 85 | 89 | 77 | 80 | 14 | 14 | 14 | 15 | 15 | 14 | 15 | 14 | 14 | 15 | 14 | 15 | 15 | 14 | 15 | 15 | 15 | 16 | 15 | 15 | 50 | 48 | 45 | 48 | 62 | 60 | 60 | 62 | 61 | 62 | 50 | 50 | 14 | 15 | 14 | 14 | 15 | 15 | 16 | 16 | 15 | 15 | 16 | 14 | 14 | 14 | 14 | 17 | 15 | 14 | 13 | 15 | 35 | 34 | 33 | 34 | 47 | 46 | 48 | 48 | 49 | 48 | 36 | 34 | 14 | 14 | 15 | 15 | 15 | 15 | 14 | 15 | 14 | 14 | 15 | 15 | 16 | 15 | 15 | 15 | 14 | 15 | 14 | 14 | 26 | 26 | 25 | 25 | 39 | 39 | 40 | 40 | 40 | 40 | 29 | 28 | 15 | 14 | 14 | 15 | 15 | 13 | 15 | 15 | 15 | 15 | 16 | 14 | 16 | 15 | 16 | 16 | 14 | 18 | 14 | 14 | 22 | 21 | 20 | 20 | 35 | 36 | 35 | 35 | 37 | 36 | 29 | 21 | 15 | 15 | 16 | 14 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 14 | 15 | 14 | 16 | 15 | 16 | 15 | 18 | 18 | 17 | 18 | 34 | 34 | 32 | 32 | 34 | 32 | 21 | 20 | 15 | 15 | 14 | 15 | 13 | 13 | 15 | 14 | 15 | 15 | 15 | 13 | 17 | 16 | 16 | 15 | 16 | 15 | 15 | 15 | 11 | 12 | 14 | 14 | 29 | 29 | 28 | 29 | 29 | 27 | 18 | 18 | 16 | 16 | 15 | 15 | 14 | 14 | 14 | 14 | 16 | 15 | 15 | 16 | 14 | 16 | 16 | 15 | 14 | 15 | 15 | 15 | 14 | 14 | 15 | 15 | 14 | 15 | 15 | 14 | 15 | 14 | 15 | 15 | 14 | 15 | 15 | 14 | 14 | 14 | 13 | 15 | 14 | 15 | 14 | 15 | 14 | 14 | 16 | 16 | 15 | 14 | 16 | 14 | 15 | 14 | 14 | 14 | 15 | 14 | 15 | 15 | 14 | 15 | 14 | 15 | 16 | 16 | 15 | 15 | 14 | 15 | 15 | 16 | 14 | 15 | 13 | 16 | 14 | 16 | 14 | 15 | 15 | 15 | 15 | 14 | 16 | 15 | 16 | 15 | 13 | 15 | 15 | 15 | 15 | 13 | 14 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 16 | 15 | 15 | 14 | 14 | 14 | 15 | 15 | 15 | 15 | 14 | 14 | 15 | 15 | 14 | 15 | 14 | 16 | 15 | 14 | 13 | 15 | 15 | 16 | 14 | 14 | 15 | 15 | 15 | 16 | 13 | 16 | 16 | 12 | 14 | 15 | 14 | 15 | 16 | 14 | 14 | 15 | 14 | 16 | 14 | 12
360/40 | 460/40 [Perpendicular] | 184 | 180 | 178 | 177 | 183 | 173 | 192 | 188 | 194 | 203 | 188 | 189 | 8 | 12 | 11 | 12 | 12 | 6 | 15 | 13 | 10 | 12 | 15 | 11 | 12 | 10 | 13 | 14 | 11 | 12 | 12 | 17 | 105 | 93 | 102 | 98 | 108 | 119 | 109 | 93 | 108 | 115 | 103 | 107 | 11 | 11 | 9 | 12 | 14 | 13 | 11 | 12 | 13 | 14 | 8 | 8 | 10 | 10 | 13 | 13 | 10 | 13 | 14 | 15 | 70 | 66 | 63 | 64 | 72 | 74 | 74 | 75 | 71 | 71 | 63 | 64 | 13 | 10 | 11 | 10 | 12 | 11 | 13 | 13 | 13 | 10 | 12 | 14 | 13 | 22 | 13 | 15 | 13 | 10 | 9 | 13 | 35 | 45 | 39 | 41 | 50 | 52 | 51 | 50 | 51 | 57 | 45 | 39 | 13 | 14 | 11 | 11 | 12 | 11 | 16 | 13 | 9 | 14 | 10 | 11 | 13 | 13 | 16 | 13 | 11 | 10 | 13 | 13 | 32 | 28 | 29 | 31 | 45 | 42 | 42 | 44 | 42 | 39 | 36 | 31 | 10 | 12 | 11 | 14 | 11 | 11 | 14 | 12 | 11 | 8 | 12 | 10 | 7 | 9 | 10 | 15 | 8 | 16 | 12 | 12 | 19 | 25 | 21 | 23 | 31 | 38 | 33 | 31 | 35 | 34 | 31 | 20 | 12 | 9 | 10 | 10 | 14 | 14 | 12 | 14 | 13 | 12 | 13 | 7 | 16 | 10 | 13 | 12 | 15 | 14 | 10 | 11 | 15 | 17 | 18 | 17 | 34 | 28 | 33 | 31 | 30 | 29 | 20 | 20 | 9 | 12 | 11 | 11 | 14 | 11 | 9 | 14 | 8 | 11 | 12 | 16 | 10 | 12 | 13 | 16 | 16 | 10 | 13 | 13 | 10 | 9 | 11 | 8 | 27 | 24 | 22 | 25 | 24 | 25 | 10 | 14 | 10 | 13 | 11 | 10 | 14 | 13 | 13 | 11 | 12 | 13 | 12 | 10 | 11 | 13 | 12 | 13 | 9 | 14 | 10 | 15 | 11 | 14 | 8 | 11 | 15 | 11 | 11 | 15 | 11 | 11 | 13 | 9 | 11 | 13 | 14 | 9 | 15 | 12 | 11 | 13 | 12 | 14 | 7 | 11 | 17 | 15 | 15 | 14 | 14 | 13 | 11 | 15 | 8 | 9 | 11 | 14 | 20 | 7 | 14 | 14 | 10 | 15 | 14 | 12 | 14 | 11 | 14 | 10 | 10 | 12 | 11 | 12 | 6 | 16 | 8 | 12 | 16 | 13 | 10 | 10 | 14 | 12 | 12 | 14 | 8 | 12 | 17 | 11 | 14 | 12 | 8 | 11 | 11 | 15 | 12 | 13 | 11 | 8 | 14 | 14 | 7 | 13 | 10 | 10 | 12 | 15 | 14 | 12 | 11 | 9 | 12 | 11 | 11 | 11 | 14 | 13 | 12 | 9 | 10 | 15 | 11 | 14 | 16 | 16 | 11 | 13 | 7 | 9 | 16 | 11 | 9 | 8 | 10 | 12 | 11 | 11 | 8 | 11 | 18 | 14 | 12 | 15 | 12 | 12 | 11 | 9 | 13 | 12
Parallel Intensity | 129 | 124 | 121 | 124 | 135 | 128 | 141 | 139 | 144 | 145 | 132 | 134 | 15 | 14 | 15 | 14 | 13 | 15 | 15 | 13 | 14 | 14 | 14 | 15 | 14 | 14 | 14 | 14 | 15 | 14 | 14 | 14 | 75 | 69 | 72 | 72 | 84 | 91 | 86 | 73 | 85 | 89 | 77 | 80 | 14 | 14 | 14 | 15 | 15 | 14 | 15 | 14 | 14 | 15 | 14 | 15 | 15 | 14 | 15 | 15 | 15 | 16 | 15 | 15 | 50 | 48 | 45 | 48 | 62 | 60 | 60 | 62 | 61 | 62 | 50 | 50 | 14 | 15 | 14 | 14 | 15 | 15 | 16 | 16 | 15 | 15 | 16 | 14 | 14 | 14 | 14 | 17 | 15 | 14 | 13 | 15 | 35 | 34 | 33 | 34 | 47 | 46 | 48 | 48 | 49 | 48 | 36 | 34 | 14 | 14 | 15 | 15 | 15 | 15 | 14 | 15 | 14 | 14 | 15 | 15 | 16 | 15 | 15 | 15 | 14 | 15 | 14 | 14 | 26 | 26 | 25 | 25 | 39 | 39 | 40 | 40 | 40 | 40 | 29 | 28 | 15 | 14 | 14 | 15 | 15 | 13 | 15 | 15 | 15 | 15 | 16 | 14 | 16 | 15 | 16 | 16 | 14 | 18 | 14 | 14 | 22 | 21 | 20 | 20 | 35 | 36 | 35 | 35 | 37 | 36 | 29 | 21 | 15 | 15 | 16 | 14 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 14 | 15 | 14 | 16 | 15 | 16 | 15 | 18 | 18 | 17 | 18 | 34 | 34 | 32 | 32 | 34 | 32 | 21 | 20 | 15 | 15 | 14 | 15 | 13 | 13 | 15 | 14 | 15 | 15 | 15 | 13 | 17 | 16 | 16 | 15 | 16 | 15 | 15 | 15 | 11 | 12 | 14 | 14 | 29 | 29 | 28 | 29 | 29 | 27 | 18 | 18 | 16 | 16 | 15 | 15 | 14 | 14 | 14 | 14 | 16 | 15 | 15 | 16 | 14 | 16 | 16 | 15 | 14 | 15 | 15 | 15 | 14 | 14 | 15 | 15 | 14 | 15 | 15 | 14 | 15 | 14 | 15 | 15 | 14 | 15 | 15 | 14 | 14 | 14 | 13 | 15 | 14 | 15 | 14 | 15 | 14 | 14 | 16 | 16 | 15 | 14 | 16 | 14 | 15 | 14 | 14 | 14 | 15 | 14 | 15 | 15 | 14 | 15 | 14 | 15 | 16 | 16 | 15 | 15 | 14 | 15 | 15 | 16 | 14 | 15 | 13 | 16 | 14 | 16 | 14 | 15 | 15 | 15 | 15 | 14 | 16 | 15 | 16 | 15 | 13 | 15 | 15 | 15 | 15 | 13 | 14 | 14 | 14 | 15 | 15 | 15 | 15 | 15 | 16 | 15 | 15 | 14 | 14 | 14 | 15 | 15 | 15 | 15 | 14 | 14 | 15 | 15 | 14 | 15 | 14 | 16 | 15 | 14 | 13 | 15 | 15 | 16 | 14 | 14 | 15 | 15 | 15 | 16 | 13 | 16 | 16 | 12 | 14 | 15 | 14 | 15 | 16 | 14 | 14 | 15 | 14 | 16 | 14 | 12
Perpendicular Intensity | 121 | 118 | 117 | 116 | 120 | 114 | 126 | 124 | 128 | 134 | 124 | 124 | 5 | 8 | 7 | 8 | 8 | 4 | 10 | 9 | 7 | 8 | 10 | 7 | 8 | 7 | 9 | 9 | 7 | 8 | 8 | 11 | 69 | 61 | 67 | 64 | 71 | 78 | 72 | 61 | 71 | 76 | 68 | 70 | 7 | 7 | 6 | 8 | 9 | 9 | 7 | 8 | 9 | 9 | 5 | 5 | 7 | 7 | 9 | 9 | 7 | 9 | 9 | 10 | 46 | 43 | 41 | 42 | 47 | 49 | 49 | 49 | 47 | 47 | 41 | 42 | 9 | 7 | 7 | 7 | 8 | 7 | 9 | 9 | 9 | 7 | 8 | 9 | 9 | 14 | 9 | 10 | 9 | 7 | 6 | 9 | 23 | 30 | 26 | 27 | 33 | 34 | 34 | 33 | 34 | 38 | 30 | 26 | 9 | 9 | 7 | 7 | 8 | 7 | 11 | 9 | 6 | 9 | 7 | 7 | 9 | 9 | 11 | 9 | 7 | 7 | 9 | 9 | 21 | 18 | 19 | 20 | 30 | 28 | 28 | 29 | 28 | 26 | 24 | 20 | 7 | 8 | 7 | 9 | 7 | 7 | 9 | 8 | 7 | 5 | 8 | 7 | 5 | 6 | 7 | 10 | 5 | 11 | 8 | 8 | 13 | 16 | 14 | 15 | 20 | 25 | 22 | 20 | 23 | 22 | 20 | 13 | 8 | 6 | 7 | 7 | 9 | 9 | 8 | 9 | 9 | 8 | 9 | 5 | 11 | 7 | 9 | 8 | 10 | 9 | 7 | 7 | 10 | 11 | 12 | 11 | 22 | 18 | 22 | 20 | 20 | 19 | 13 | 13 | 6 | 8 | 7 | 7 | 9 | 7 | 6 | 9 | 5 | 7 | 8 | 11 | 7 | 8 | 9 | 11 | 11 | 7 | 9 | 9 | 7 | 6 | 7 | 5 | 18 | 16 | 14 | 16 | 16 | 16 | 7 | 9 | 7 | 9 | 7 | 7 | 9 | 9 | 9 | 7 | 8 | 9 | 8 | 7 | 7 | 9 | 8 | 9 | 6 | 9 | 7 | 10 | 7 | 9 | 5 | 7 | 10 | 7 | 7 | 10 | 7 | 7 | 9 | 6 | 7 | 9 | 9 | 6 | 10 | 8 | 7 | 9 | 8 | 9 | 5 | 7 | 11 | 10 | 10 | 9 | 9 | 9 | 7 | 10 | 5 | 6 | 7 | 9 | 13 | 5 | 9 | 9 | 7 | 10 | 9 | 8 | 9 | 7 | 9 | 7 | 7 | 8 | 7 | 8 | 4 | 11 | 5 | 8 | 11 | 9 | 7 | 7 | 9 | 8 | 8 | 9 | 5 | 8 | 11 | 7 | 9 | 8 | 5 | 7 | 7 | 10 | 8 | 9 | 7 | 5 | 9 | 9 | 5 | 9 | 7 | 7 | 8 | 10 | 9 | 8 | 7 | 6 | 8 | 7 | 7 | 7 | 9 | 9 | 8 | 6 | 7 | 10 | 7 | 9 | 11 | 11 | 7 | 9 | 5 | 6 | 11 | 7 | 6 | 5 | 7 | 8 | 7 | 7 | 5 | 7 | 12 | 9 | 8 | 10 | 8 | 8 | 7 | 6 | 9 | 8
Polarization | 32 | 23 | 16 | 31 | 57 | 59 | 55 | 58 | 60 | 41 | 32 | 37 | 480 | 279 | 349 | 279 | 244 | 583 | 206 | 206 | 361 | 279 | 173 | 349 | 279 | 361 | 241 | 206 | 349 | 279 | 279 | 112 | 41 | 60 | 35 | 55 | 83 | 75 | 91 | 88 | 89 | 81 | 64 | 64 | 318 | 318 | 405 | 310 | 239 | 241 | 349 | 279 | 241 | 239 | 453 | 480 | 390 | 361 | 274 | 274 | 390 | 303 | 239 | 206 | 41 | 50 | 41 | 65 | 134 | 104 | 104 | 114 | 133 | 141 | 93 | 86 | 241 | 390 | 318 | 361 | 310 | 349 | 303 | 303 | 274 | 390 | 339 | 206 | 241 | -17 | 241 | 265 | 274 | 361 | 374 | 274 | 206 | 69 | 125 | 115 | 176 | 147 | 177 | 187 | 187 | 123 | 97 | 140 | 241 | 206 | 349 | 349 | 310 | 349 | 142 | 274 | 405 | 206 | 390 | 349 | 303 | 274 | 175 | 274 | 318 | 390 | 241 | 241 | 105 | 171 | 134 | 101 | 137 | 171 | 183 | 160 | 183 | 218 | 101 | 157 | 390 | 279 | 318 | 239 | 349 | 285 | 239 | 310 | 349 | 480 | 339 | 361 | 553 | 434 | 417 | 237 | 453 | 262 | 279 | 279 | 275 | 121 | 183 | 138 | 264 | 180 | 234 | 264 | 233 | 233 | 174 | 230 | 310 | 434 | 417 | 361 | 206 | 206 | 310 | 239 | 274 | 310 | 274 | 530 | 175 | 361 | 274 | 279 | 237 | 239 | 417 | 349 | 292 | 233 | 179 | 233 | 206 | 297 | 191 | 221 | 265 | 253 | 230 | 206 | 434 | 310 | 318 | 349 | 171 | 285 | 434 | 206 | 480 | 349 | 310 | 105 | 442 | 339 | 303 | 175 | 206 | 390 | 274 | 274 | 251 | 339 | 318 | 453 | 240 | 295 | 318 | 276 | 295 | 243 | 465 | 323 | 417 | 303 | 349 | 390 | 206 | 241 | 241 | 318 | 339 | 274 | 310 | 417 | 318 | 303 | 339 | 274 | 405 | 239 | 390 | 206 | 318 | 206 | 480 | 349 | 173 | 349 | 349 | 173 | 349 | 318 | 274 | 434 | 318 | 274 | 239 | 405 | 173 | 279 | 285 | 274 | 279 | 239 | 505 | 349 | 112 | 173 | 237 | 269 | 239 | 241 | 377 | 173 | 480 | 405 | 318 | 206 | 65 | 505 | 239 | 239 | 361 | 206 | 206 | 310 | 269 | 377 | 239 | 390 | 361 | 310 | 349 | 339 | 560 | 175 | 424 | 339 | 142 | 303 | 361 | 390 | 239 | 310 | 310 | 206 | 505 | 310 | 177 | 349 | 171 | 310 | 480 | 349 | 349 | 137 | 279 | 241 | 318 | 480 | 239 | 239 | 530 | 274 | 417 | 390 | 310 | 173 | 206 | 279 | 349 | 434 | 310 | 349 | 318 | 318 | 239 | 274 | 279 | 434 | 361 | 237 | 349 | 206 | 105 | 175 | 349 | 303 | 505 | 405 | 175 | 349 | 434 | 505 | 328 | 339 | 377 | 248 | 453 | 349 | 83 | 239 | 339 | 173 | 279 | 310 | 318 | 460 | 241 | 206

## Sheet1
Well ID | Well | 360/40 | 360/40 | Parallel Intensity | Perpendicular Intensity | Polarization
SPL1 | A1 | 460/40 [Parallel] | 460/40 [Perpendicular] | 129 | 121 | 32
SPL2 | B1 | 129 | 184 | 124 | 118 | 23
SPL3 | C1 | 124 | 180 | 121 | 117 | 16
SPL4 | D1 | 121 | 178 | 124 | 116 | 31
SPL5 | E1 | 124 | 177 | 135 | 120 | 57
SPL6 | F1 | 135 | 183 | 128 | 114 | 59
SPL7 | G1 | 128 | 173 | 141 | 126 | 55
SPL8 | H1 | 141 | 192 | 139 | 124 | 58
SPL9 | I1 | 139 | 188 | 144 | 128 | 60
SPL10 | J1 | 144 | 194 | 145 | 134 | 41
SPL11 | K1 | 145 | 203 | 132 | 124 | 32
SPL12 | L1 | 132 | 188 | 134 | 124 | 37
SPL13 | M1 | 134 | 189 | 15 | 5 | 480
SPL14 | N1 | 15 | 8 | 14 | 8 | 279
SPL15 | O1 | 14 | 12 | 15 | 7 | 349
SPL16 | P1 | 15 | 11 | 14 | 8 | 279
SPL17 | A2 | 14 | 12 | 13 | 8 | 244
SPL18 | B2 | 13 | 12 | 15 | 4 | 583
SPL19 | C2 | 15 | 6 | 15 | 10 | 206
SPL20 | D2 | 15 | 15 | 13 | 9 | 206
SPL21 | E2 | 13 | 13 | 14 | 7 | 361
SPL22 | F2 | 14 | 10 | 14 | 8 | 279
SPL23 | G2 | 14 | 12 | 14 | 10 | 173
SPL24 | H2 | 14 | 15 | 15 | 7 | 349
SPL25 | I2 | 15 | 11 | 14 | 8 | 279
SPL26 | J2 | 14 | 12 | 14 | 7 | 361
SPL27 | K2 | 14 | 10 | 14 | 9 | 241
SPL28 | L2 | 14 | 13 | 14 | 9 | 206
SPL29 | M2 | 14 | 14 | 15 | 7 | 349
SPL30 | N2 | 15 | 11 | 14 | 8 | 279
SPL31 | O2 | 14 | 12 | 14 | 8 | 279
SPL32 | P2 | 14 | 12 | 14 | 11 | 112
SPL33 | A3 | 14 | 17 | 75 | 69 | 41
SPL34 | B3 | 75 | 105 | 69 | 61 | 60
SPL35 | C3 | 69 | 93 | 72 | 67 | 35
SPL36 | D3 | 72 | 102 | 72 | 64 | 55
SPL37 | E3 | 72 | 98 | 84 | 71 | 83
SPL38 | F3 | 84 | 108 | 91 | 78 | 75
SPL39 | G3 | 91 | 119 | 86 | 72 | 91
SPL40 | H3 | 86 | 109 | 73 | 61 | 88
SPL41 | I3 | 73 | 93 | 85 | 71 | 89
SPL42 | J3 | 85 | 108 | 89 | 76 | 81
SPL43 | K3 | 89 | 115 | 77 | 68 | 64
SPL44 | L3 | 77 | 103 | 80 | 70 | 64
SPL45 | M3 | 80 | 107 | 14 | 7 | 318
SPL46 | N3 | 14 | 11 | 14 | 7 | 318
SPL47 | O3 | 14 | 11 | 14 | 6 | 405
SPL48 | P3 | 14 | 9 | 15 | 8 | 310
SPL49 | A4 | 15 | 12 | 15 | 9 | 239
SPL50 | B4 | 15 | 14 | 14 | 9 | 241
SPL51 | C4 | 14 | 13 | 15 | 7 | 349
SPL52 | D4 | 15 | 11 | 14 | 8 | 279
SPL53 | E4 | 14 | 12 | 14 | 9 | 241
SPL54 | F4 | 14 | 13 | 15 | 9 | 239
SPL55 | G4 | 15 | 14 | 14 | 5 | 453
SPL56 | H4 | 14 | 8 | 15 | 5 | 480
SPL57 | I4 | 15 | 8 | 15 | 7 | 390
SPL58 | J4 | 15 | 10 | 14 | 7 | 361
SPL59 | K4 | 14 | 10 | 15 | 9 | 274
SPL60 | L4 | 15 | 13 | 15 | 9 | 274
SPL61 | M4 | 15 | 13 | 15 | 7 | 390
SPL62 | N4 | 15 | 10 | 16 | 9 | 303
SPL63 | O4 | 16 | 13 | 15 | 9 | 239
SPL64 | P4 | 15 | 14 | 15 | 10 | 206
SPL65 | A5 | 15 | 15 | 50 | 46 | 41
SPL66 | B5 | 50 | 70 | 48 | 43 | 50
SPL67 | C5 | 48 | 66 | 45 | 41 | 41
SPL68 | D5 | 45 | 63 | 48 | 42 | 65
SPL69 | E5 | 48 | 64 | 62 | 47 | 134
SPL70 | F5 | 62 | 72 | 60 | 49 | 104
SPL71 | G5 | 60 | 74 | 60 | 49 | 104
SPL72 | H5 | 60 | 74 | 62 | 49 | 114
SPL73 | I5 | 62 | 75 | 61 | 47 | 133
SPL74 | J5 | 61 | 71 | 62 | 47 | 141
SPL75 | K5 | 62 | 71 | 50 | 41 | 93
SPL76 | L5 | 50 | 63 | 50 | 42 | 86
SPL77 | M5 | 50 | 64 | 14 | 9 | 241
SPL78 | N5 | 14 | 13 | 15 | 7 | 390
SPL79 | O5 | 15 | 10 | 14 | 7 | 318
SPL80 | P5 | 14 | 11 | 14 | 7 | 361
SPL81 | A6 | 14 | 10 | 15 | 8 | 310
SPL82 | B6 | 15 | 12 | 15 | 7 | 349
SPL83 | C6 | 15 | 11 | 16 | 9 | 303
SPL84 | D6 | 16 | 13 | 16 | 9 | 303
SPL85 | E6 | 16 | 13 | 15 | 9 | 274
SPL86 | F6 | 15 | 13 | 15 | 7 | 390
SPL87 | G6 | 15 | 10 | 16 | 8 | 339
SPL88 | H6 | 16 | 12 | 14 | 9 | 206
SPL89 | I6 | 14 | 14 | 14 | 9 | 241
SPL90 | J6 | 14 | 13 | 14 | 14 | -17
SPL91 | K6 | 14 | 22 | 14 | 9 | 241
SPL92 | L6 | 14 | 13 | 17 | 10 | 265
SPL93 | M6 | 17 | 15 | 15 | 9 | 274
SPL94 | N6 | 15 | 13 | 14 | 7 | 361
SPL95 | O6 | 14 | 10 | 13 | 6 | 374
SPL96 | P6 | 13 | 9 | 15 | 9 | 274
SPL97 | A7 | 15 | 13 | 35 | 23 | 206
SPL98 | B7 | 35 | 35 | 34 | 30 | 69
SPL99 | C7 | 34 | 45 | 33 | 26 | 125
SPL100 | D7 | 33 | 39 | 34 | 27 | 115
SPL101 | E7 | 34 | 41 | 47 | 33 | 176
SPL102 | F7 | 47 | 50 | 46 | 34 | 147
SPL103 | G7 | 46 | 52 | 48 | 34 | 177
SPL104 | H7 | 48 | 51 | 48 | 33 | 187
SPL105 | I7 | 48 | 50 | 49 | 34 | 187
SPL106 | J7 | 49 | 51 | 48 | 38 | 123
SPL107 | K7 | 48 | 57 | 36 | 30 | 97
SPL108 | L7 | 36 | 45 | 34 | 26 | 140
SPL109 | M7 | 34 | 39 | 14 | 9 | 241
SPL110 | N7 | 14 | 13 | 14 | 9 | 206
SPL111 | O7 | 14 | 14 | 15 | 7 | 349
SPL112 | P7 | 15 | 11 | 15 | 7 | 349
SPL113 | A8 | 15 | 11 | 15 | 8 | 310
SPL114 | B8 | 15 | 12 | 15 | 7 | 349
SPL115 | C8 | 15 | 11 | 14 | 11 | 142
SPL116 | D8 | 14 | 16 | 15 | 9 | 274
SPL117 | E8 | 15 | 13 | 14 | 6 | 405
SPL118 | F8 | 14 | 9 | 14 | 9 | 206
SPL119 | G8 | 14 | 14 | 15 | 7 | 390
SPL120 | H8 | 15 | 10 | 15 | 7 | 349
SPL121 | I8 | 15 | 11 | 16 | 9 | 303
SPL122 | J8 | 16 | 13 | 15 | 9 | 274
SPL123 | K8 | 15 | 13 | 15 | 11 | 175
SPL124 | L8 | 15 | 16 | 15 | 9 | 274
SPL125 | M8 | 15 | 13 | 14 | 7 | 318
SPL126 | N8 | 14 | 11 | 15 | 7 | 390
SPL127 | O8 | 15 | 10 | 14 | 9 | 241
SPL128 | P8 | 14 | 13 | 14 | 9 | 241
SPL129 | A9 | 14 | 13 | 26 | 21 | 105
SPL130 | B9 | 26 | 32 | 26 | 18 | 171
SPL131 | C9 | 26 | 28 | 25 | 19 | 134
SPL132 | D9 | 25 | 29 | 25 | 20 | 101
SPL133 | E9 | 25 | 31 | 39 | 30 | 137
SPL134 | F9 | 39 | 45 | 39 | 28 | 171
SPL135 | G9 | 39 | 42 | 40 | 28 | 183
SPL136 | H9 | 40 | 42 | 40 | 29 | 160
SPL137 | I9 | 40 | 44 | 40 | 28 | 183
SPL138 | J9 | 40 | 42 | 40 | 26 | 218
SPL139 | K9 | 40 | 39 | 29 | 24 | 101
SPL140 | L9 | 29 | 36 | 28 | 20 | 157
SPL141 | M9 | 28 | 31 | 15 | 7 | 390
SPL142 | N9 | 15 | 10 | 14 | 8 | 279
SPL143 | O9 | 14 | 12 | 14 | 7 | 318
SPL144 | P9 | 14 | 11 | 15 | 9 | 239
SPL145 | A10 | 15 | 14 | 15 | 7 | 349
SPL146 | B10 | 15 | 11 | 13 | 7 | 285
SPL147 | C10 | 13 | 11 | 15 | 9 | 239
SPL148 | D10 | 15 | 14 | 15 | 8 | 310
SPL149 | E10 | 15 | 12 | 15 | 7 | 349
SPL150 | F10 | 15 | 11 | 15 | 5 | 480
SPL151 | G10 | 15 | 8 | 16 | 8 | 339
SPL152 | H10 | 16 | 12 | 14 | 7 | 361
SPL153 | I10 | 14 | 10 | 16 | 5 | 553
SPL154 | J10 | 16 | 7 | 15 | 6 | 434
SPL155 | K10 | 15 | 9 | 16 | 7 | 417
SPL156 | L10 | 16 | 10 | 16 | 10 | 237
SPL157 | M10 | 16 | 15 | 14 | 5 | 453
SPL158 | N10 | 14 | 8 | 18 | 11 | 262
SPL159 | O10 | 18 | 16 | 14 | 8 | 279
SPL160 | P10 | 14 | 12 | 14 | 8 | 279
SPL161 | A11 | 14 | 12 | 22 | 13 | 275
SPL162 | B11 | 22 | 19 | 21 | 16 | 121
SPL163 | C11 | 21 | 25 | 20 | 14 | 183
SPL164 | D11 | 20 | 21 | 20 | 15 | 138
SPL165 | E11 | 20 | 23 | 35 | 20 | 264
SPL166 | F11 | 35 | 31 | 36 | 25 | 180
SPL167 | G11 | 36 | 38 | 35 | 22 | 234
SPL168 | H11 | 35 | 33 | 35 | 20 | 264
SPL169 | I11 | 35 | 31 | 37 | 23 | 233
SPL170 | J11 | 37 | 35 | 36 | 22 | 233
SPL171 | K11 | 36 | 34 | 29 | 20 | 174
SPL172 | L11 | 29 | 31 | 21 | 13 | 230
SPL173 | M11 | 21 | 20 | 15 | 8 | 310
SPL174 | N11 | 15 | 12 | 15 | 6 | 434
SPL175 | O11 | 15 | 9 | 16 | 7 | 417
SPL176 | P11 | 16 | 10 | 14 | 7 | 361
SPL177 | A12 | 14 | 10 | 14 | 9 | 206
SPL178 | B12 | 14 | 14 | 14 | 9 | 206
SPL179 | C12 | 14 | 14 | 15 | 8 | 310
SPL180 | D12 | 15 | 12 | 15 | 9 | 239
SPL181 | E12 | 15 | 14 | 15 | 9 | 274
SPL182 | F12 | 15 | 13 | 15 | 8 | 310
SPL183 | G12 | 15 | 12 | 15 | 9 | 274
SPL184 | H12 | 15 | 13 | 15 | 5 | 530
SPL185 | I12 | 15 | 7 | 15 | 11 | 175
SPL186 | J12 | 15 | 16 | 14 | 7 | 361
SPL187 | K12 | 14 | 10 | 15 | 9 | 274
SPL188 | L12 | 15 | 13 | 14 | 8 | 279
SPL189 | M12 | 14 | 12 | 16 | 10 | 237
SPL190 | N12 | 16 | 15 | 15 | 9 | 239
SPL191 | O12 | 15 | 14 | 16 | 7 | 417
SPL192 | P12 | 16 | 10 | 15 | 7 | 349
SPL193 | A13 | 15 | 11 | 18 | 10 | 292
SPL194 | B13 | 18 | 15 | 18 | 11 | 233
SPL195 | C13 | 18 | 17 | 17 | 12 | 179
SPL196 | D13 | 17 | 18 | 18 | 11 | 233
SPL197 | E13 | 18 | 17 | 34 | 22 | 206
SPL198 | F13 | 34 | 34 | 34 | 18 | 297
SPL199 | G13 | 34 | 28 | 32 | 22 | 191
SPL200 | H13 | 32 | 33 | 32 | 20 | 221
SPL201 | I13 | 32 | 31 | 34 | 20 | 265
SPL202 | J13 | 34 | 30 | 32 | 19 | 253
SPL203 | K13 | 32 | 29 | 21 | 13 | 230
SPL204 | L13 | 21 | 20 | 20 | 13 | 206
SPL205 | M13 | 20 | 20 | 15 | 6 | 434
SPL206 | N13 | 15 | 9 | 15 | 8 | 310
SPL207 | O13 | 15 | 12 | 14 | 7 | 318
SPL208 | P13 | 14 | 11 | 15 | 7 | 349
SPL209 | A14 | 15 | 11 | 13 | 9 | 171
SPL210 | B14 | 13 | 14 | 13 | 7 | 285
SPL211 | C14 | 13 | 11 | 15 | 6 | 434
SPL212 | D14 | 15 | 9 | 14 | 9 | 206
SPL213 | E14 | 14 | 14 | 15 | 5 | 480
SPL214 | F14 | 15 | 8 | 15 | 7 | 349
SPL215 | G14 | 15 | 11 | 15 | 8 | 310
SPL216 | H14 | 15 | 12 | 13 | 11 | 105
SPL217 | I14 | 13 | 16 | 17 | 7 | 442
SPL218 | J14 | 17 | 10 | 16 | 8 | 339
SPL219 | K14 | 16 | 12 | 16 | 9 | 303
SPL220 | L14 | 16 | 13 | 15 | 11 | 175
SPL221 | M14 | 15 | 16 | 16 | 11 | 206
SPL222 | N14 | 16 | 16 | 15 | 7 | 390
SPL223 | O14 | 15 | 10 | 15 | 9 | 274
SPL224 | P14 | 15 | 13 | 15 | 9 | 274
SPL225 | A15 | 15 | 13 | 11 | 7 | 251
SPL226 | B15 | 11 | 10 | 12 | 6 | 339
SPL227 | C15 | 12 | 9 | 14 | 7 | 318
SPL228 | D15 | 14 | 11 | 14 | 5 | 453
SPL229 | E15 | 14 | 8 | 29 | 18 | 240
SPL230 | F15 | 29 | 27 | 29 | 16 | 295
SPL231 | G15 | 29 | 24 | 28 | 14 | 318
SPL232 | H15 | 28 | 22 | 29 | 16 | 276
SPL233 | I15 | 29 | 25 | 29 | 16 | 295
SPL234 | J15 | 29 | 24 | 27 | 16 | 243
SPL235 | K15 | 27 | 25 | 18 | 7 | 465
SPL236 | L15 | 18 | 10 | 18 | 9 | 323
SPL237 | M15 | 18 | 14 | 16 | 7 | 417
SPL238 | N15 | 16 | 10 | 16 | 9 | 303
SPL239 | O15 | 16 | 13 | 15 | 7 | 349
SPL240 | P15 | 15 | 11 | 15 | 7 | 390
SPL241 | A16 | 15 | 10 | 14 | 9 | 206
SPL242 | B16 | 14 | 14 | 14 | 9 | 241
SPL243 | C16 | 14 | 13 | 14 | 9 | 241
SPL244 | D16 | 14 | 13 | 14 | 7 | 318
SPL245 | E16 | 14 | 11 | 16 | 8 | 339
SPL246 | F16 | 16 | 12 | 15 | 9 | 274
SPL247 | G16 | 15 | 13 | 15 | 8 | 310
SPL248 | H16 | 15 | 12 | 16 | 7 | 417
SPL249 | I16 | 16 | 10 | 14 | 7 | 318
SPL250 | J16 | 14 | 11 | 16 | 9 | 303
SPL251 | K16 | 16 | 13 | 16 | 8 | 339
SPL252 | L16 | 16 | 12 | 15 | 9 | 274
SPL253 | M16 | 15 | 13 | 14 | 6 | 405
SPL254 | N16 | 14 | 9 | 15 | 9 | 239
SPL255 | O16 | 15 | 14 | 15 | 7 | 390
SPL256 | P16 | 15 | 10 | 15 | 10 | 206
SPL257 | A17 | 15 | 15 | 14 | 7 | 318
SPL258 | B17 | 14 | 11 | 14 | 9 | 206
SPL259 | C17 | 14 | 14 | 15 | 5 | 480
SPL260 | D17 | 15 | 8 | 15 | 7 | 349
SPL261 | E17 | 15 | 11 | 14 | 10 | 173
SPL262 | F17 | 14 | 15 | 15 | 7 | 349
SPL263 | G17 | 15 | 11 | 15 | 7 | 349
SPL264 | H17 | 15 | 11 | 14 | 10 | 173
SPL265 | I17 | 14 | 15 | 15 | 7 | 349
SPL266 | J17 | 15 | 11 | 14 | 7 | 318
SPL267 | K17 | 14 | 11 | 15 | 9 | 274
SPL268 | L17 | 15 | 13 | 15 | 6 | 434
SPL269 | M17 | 15 | 9 | 14 | 7 | 318
SPL270 | N17 | 14 | 11 | 15 | 9 | 274
SPL271 | O17 | 15 | 13 | 15 | 9 | 239
SPL272 | P17 | 15 | 14 | 14 | 6 | 405
SPL273 | A18 | 14 | 9 | 14 | 10 | 173
SPL274 | B18 | 14 | 15 | 14 | 8 | 279
SPL275 | C18 | 14 | 12 | 13 | 7 | 285
SPL276 | D18 | 13 | 11 | 15 | 9 | 274
SPL277 | E18 | 15 | 13 | 14 | 8 | 279
SPL278 | F18 | 14 | 12 | 15 | 9 | 239
SPL279 | G18 | 15 | 14 | 14 | 5 | 505
SPL280 | H18 | 14 | 7 | 15 | 7 | 349
SPL281 | I18 | 15 | 11 | 14 | 11 | 112
SPL282 | J18 | 14 | 17 | 14 | 10 | 173
SPL283 | K18 | 14 | 15 | 16 | 10 | 237
SPL284 | L18 | 16 | 15 | 16 | 9 | 269
SPL285 | M18 | 16 | 14 | 15 | 9 | 239
SPL286 | N18 | 15 | 14 | 14 | 9 | 241
SPL287 | O18 | 14 | 13 | 16 | 7 | 377
SPL288 | P18 | 16 | 11 | 14 | 10 | 173
SPL289 | A19 | 14 | 15 | 15 | 5 | 480
SPL290 | B19 | 15 | 8 | 14 | 6 | 405
SPL291 | C19 | 14 | 9 | 14 | 7 | 318
SPL292 | D19 | 14 | 11 | 14 | 9 | 206
SPL293 | E19 | 14 | 14 | 15 | 13 | 65
SPL294 | F19 | 15 | 20 | 14 | 5 | 505
SPL295 | G19 | 14 | 7 | 15 | 9 | 239
SPL296 | H19 | 15 | 14 | 15 | 9 | 239
SPL297 | I19 | 15 | 14 | 14 | 7 | 361
SPL298 | J19 | 14 | 10 | 15 | 10 | 206
SPL299 | K19 | 15 | 15 | 14 | 9 | 206
SPL300 | L19 | 14 | 14 | 15 | 8 | 310
SPL301 | M19 | 15 | 12 | 16 | 9 | 269
SPL302 | N19 | 16 | 14 | 16 | 7 | 377
SPL303 | O19 | 16 | 11 | 15 | 9 | 239
SPL304 | P19 | 15 | 14 | 15 | 7 | 390
SPL305 | A20 | 15 | 10 | 14 | 7 | 361
SPL306 | B20 | 14 | 10 | 15 | 8 | 310
SPL307 | C20 | 15 | 12 | 15 | 7 | 349
SPL308 | D20 | 15 | 11 | 16 | 8 | 339
SPL309 | E20 | 16 | 12 | 14 | 4 | 560
SPL310 | F20 | 14 | 6 | 15 | 11 | 175
SPL311 | G20 | 15 | 16 | 13 | 5 | 424
SPL312 | H20 | 13 | 8 | 16 | 8 | 339
SPL313 | I20 | 16 | 12 | 14 | 11 | 142
SPL314 | J20 | 14 | 16 | 16 | 9 | 303
SPL315 | K20 | 16 | 13 | 14 | 7 | 361
SPL316 | L20 | 14 | 10 | 15 | 7 | 390
SPL317 | M20 | 15 | 10 | 15 | 9 | 239
SPL318 | N20 | 15 | 14 | 15 | 8 | 310
SPL319 | O20 | 15 | 12 | 15 | 8 | 310
SPL320 | P20 | 15 | 12 | 14 | 9 | 206
SPL321 | A21 | 14 | 14 | 16 | 5 | 505
SPL322 | B21 | 16 | 8 | 15 | 8 | 310
SPL323 | C21 | 15 | 12 | 16 | 11 | 177
SPL324 | D21 | 16 | 17 | 15 | 7 | 349
SPL325 | E21 | 15 | 11 | 13 | 9 | 171
SPL326 | F21 | 13 | 14 | 15 | 8 | 310
SPL327 | G21 | 15 | 12 | 15 | 5 | 480
SPL328 | H21 | 15 | 8 | 15 | 7 | 349
SPL329 | I21 | 15 | 11 | 15 | 7 | 349
SPL330 | J21 | 15 | 11 | 13 | 10 | 137
SPL331 | K21 | 13 | 15 | 14 | 8 | 279
SPL332 | L21 | 14 | 12 | 14 | 9 | 241
SPL333 | M21 | 14 | 13 | 14 | 7 | 318
SPL334 | N21 | 14 | 11 | 15 | 5 | 480
SPL335 | O21 | 15 | 8 | 15 | 9 | 239
SPL336 | P21 | 15 | 14 | 15 | 9 | 239
SPL337 | A22 | 15 | 14 | 15 | 5 | 530
SPL338 | B22 | 15 | 7 | 15 | 9 | 274
SPL339 | C22 | 15 | 13 | 16 | 7 | 417
SPL340 | D22 | 16 | 10 | 15 | 7 | 390
SPL341 | E22 | 15 | 10 | 15 | 8 | 310
SPL342 | F22 | 15 | 12 | 14 | 10 | 173
SPL343 | G22 | 14 | 15 | 14 | 9 | 206
SPL344 | H22 | 14 | 14 | 14 | 8 | 279
SPL345 | I22 | 14 | 12 | 15 | 7 | 349
SPL346 | J22 | 15 | 11 | 15 | 6 | 434
SPL347 | K22 | 15 | 9 | 15 | 8 | 310
SPL348 | L22 | 15 | 12 | 15 | 7 | 349
SPL349 | M22 | 15 | 11 | 14 | 7 | 318
SPL350 | N22 | 14 | 11 | 14 | 7 | 318
SPL351 | O22 | 14 | 11 | 15 | 9 | 239
SPL352 | P22 | 15 | 14 | 15 | 9 | 274
SPL353 | A23 | 15 | 13 | 14 | 8 | 279
SPL354 | B23 | 14 | 12 | 15 | 6 | 434
SPL355 | C23 | 15 | 9 | 14 | 7 | 361
SPL356 | D23 | 14 | 10 | 16 | 10 | 237
SPL357 | E23 | 16 | 15 | 15 | 7 | 349
SPL358 | F23 | 15 | 11 | 14 | 9 | 206
SPL359 | G23 | 14 | 14 | 13 | 11 | 105
SPL360 | H23 | 13 | 16 | 15 | 11 | 175
SPL361 | I23 | 15 | 16 | 15 | 7 | 349
SPL362 | J23 | 15 | 11 | 16 | 9 | 303
SPL363 | K23 | 16 | 13 | 14 | 5 | 505
SPL364 | L23 | 14 | 7 | 14 | 6 | 405
SPL365 | M23 | 14 | 9 | 15 | 11 | 175
SPL366 | N23 | 15 | 16 | 15 | 7 | 349
SPL367 | O23 | 15 | 11 | 15 | 6 | 434
SPL368 | P23 | 15 | 9 | 16 | 5 | 505
SPL369 | A24 | 16 | 8 | 13 | 7 | 328
SPL370 | B24 | 13 | 10 | 16 | 8 | 339
SPL371 | C24 | 16 | 12 | 16 | 7 | 377
SPL372 | D24 | 16 | 11 | 12 | 7 | 248
SPL373 | E24 | 12 | 11 | 14 | 5 | 453
SPL374 | F24 | 14 | 8 | 15 | 7 | 349
SPL375 | G24 | 15 | 11 | 14 | 12 | 83
SPL376 | H24 | 14 | 18 | 15 | 9 | 239
SPL377 | I24 | 15 | 14 | 16 | 8 | 339
SPL378 | J24 | 16 | 12 | 14 | 10 | 173
SPL379 | K24 | 14 | 15 | 14 | 8 | 279
SPL380 | L24 | 14 | 12 | 15 | 8 | 310
SPL381 | M24 | 15 | 12 | 14 | 7 | 318
SPL382 | N24 | 14 | 11 | 16 | 6 | 460
SPL383 | O24 | 16 | 9 | 14 | 9 | 241
SPL384 | P24 | 14 | 13 | 12 | 8 | 206